## itel Energy Products
No. | Product Category | Product Category (AR) | Model Number | Product Name | Product Name (AR) | Key Specifications | Datasheet Link | User Manual Link | Installation Guide Link | Certificate Link | Other Files Link | E-commerce Image 1 | E-commerce Image 2 | E-commerce Image 3 | Product Page URL | Notes
Lithium Battery - 12V
1 | Lithium Battery - 12V | بطارية ليثيوم - 12 فولت | IPB-12100 | itel 12.8V 100Ah LiFePO4 Battery (1.28kWh) | بطارية itel 12.8 فولت 100 أمبير ليثيوم (1.28 كيلوواط ساعي) | 12.8V ¦ 100Ah ¦ 1.28kWh ¦ LiFePO4 ¦ Bluetooth + Digital Display ¦ OTA Updates ¦ >6000 Cycles ¦ IP21 | https://www.batterymax.pk/cdn/shop/files/datasheet-itel-ipb-12100-12-8v-100ah-1-3kwh-lithium-battery.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100-White-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2026/01/itel-Energy-1280Wh-12V-Lithium-Battery-LiFePO%E2%82%84-%E2%80%93-Smart-Solar-Storage-Solution.webp | https://itelsolar.com/wp-content/uploads/2024/08/itel-IPB-12100-12.8V-100Ah-Lithium-Battery-2.jpg | https://itelsolar.com/wp-content/uploads/2024/08/itel-IPB-12100-12.8V-100Ah-Lithium-Battery-3.jpg | https://itelsolar.com/product/itel-1280wh-12v-lithium-battery-lifepo%e2%82%84-smart-solar-storage-solution-ipb-12100/ | Built-in Bluetooth & digital display. Compatible with itel Energy App. 12V system battery.
Lithium Battery - Wall Mounted
2 | Lithium Battery - Wall Mounted | بطارية ليثيوم - مثبتة على الحائط | IPW-25100 | itel 25.6V 100Ah LiFePO4 Battery (2.56kWh) Wall Mounted | بطارية itel 25.6 فولت 100 أمبير ليثيوم (2.56 كيلوواط ساعي) مثبتة على الحائط | 25.6V ¦ 100Ah ¦ 2.56kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ IP21 ¦ Parallel Support | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-25100-User_Manual-20250620.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-25100-User_Manual-20250620.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-2.56kWh-Lithium-Battery-Wall-Mounted-Backup-for-Homes-Shops-25.6V-LiFePO4-2-1.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-2.56kWh-Lithium-Battery-Wall-Mounted-Backup-for-Homes-Shops-25.6V-LiFePO4-1-1.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-2.56kWh-Lithium-Battery-Wall-Mounted-Backup-for-Homes-Shops-25.6V-LiFePO4-3-1.jpg | https://itelsolar.com/product/itel-2560wh-lithium-battery-wall-mounted-24v-100ah-2-56kwh-ipw-25100/ | Wall-mountable. Expandable in parallel. 24V system battery.
3 | Lithium Battery - Wall Mounted | بطارية ليثيوم - مثبتة على الحائط | IPW-51100 | itel 48V 100Ah LiFePO4 Battery (5.12kWh) Wall Mounted | بطارية itel 48 فولت 100 أمبير ليثيوم (5.12 كيلوواط ساعي) مثبتة على الحائط | 48V (51.2V) ¦ 100Ah ¦ 5.12kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ IP21 ¦ Parallel Support | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-51100-User_Manual-20250620.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-51100-User_Manual-20250620.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-5120Wh-Lithium-Battery-Wall-Mounted-48V-100Ah-5.12kWh-IPW-51100.webp | https://itelsolar.com/wp-content/uploads/2024/12/itel-5120Wh-Lithium-Battery-Wall-Mounted-IPW-51100-48V-100Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2024/12/itel-5120Wh-Lithium-Battery-Wall-Mounted-IPW-51100-48V-100Ah-3.jpg | https://itelsolar.com/product/itel-5120wh-lithium-battery-wall-mounted-48v-100ah-5-12kwh-ipw-51100/ | Wall-mount design. Compatible with 48V hybrid inverters.
4 | Lithium Battery - Wall Mounted | بطارية ليثيوم - مثبتة على الحائط | IPW-51200X | itel 48V 200Ah LiFePO4 Battery (10.24kWh) Wall Mounted | بطارية itel 48 فولت 200 أمبير ليثيوم (10.24 كيلوواط ساعي) مثبتة على الحائط | 48V (51.2V) ¦ 200Ah ¦ 10.24kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ IP21 ¦ Parallel Support | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-51100-User_Manual-20250620.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-51100-User_Manual-20250620.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Wall-Mounted-IPW-51200X-48V-200Ah-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Wall-Mounted-IPW-51200X-48V-200Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Wall-Mounted-IPW-51200X-48V-200Ah-3.jpg | https://itelsolar.com/product/itel-10240wh-lithium-battery-wall-mounted-48v-200ah-10-24kwh-ipw-51200x/ | High capacity wall-mount. 10.24kWh. 48V system.
Lithium Battery - Standing/Floor
5 | Lithium Battery - Standing/Floor | بطارية ليثيوم - عمودية/أرضية | IPL-25200X | itel 25.6V 200Ah LiFePO4 Battery (5.12kWh) Standing | بطارية itel 25.6 فولت 200 أمبير ليثيوم (5.12 كيلوواط ساعي) عمودية | 25.6V ¦ 200Ah ¦ 5.12kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing/Floor Type ¦ 24V System | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-25100-User_Manual-20250620.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPW-25100-User_Manual-20250620.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-5120Wh-Lithium-Battery-Wall-Mounted-48V-100Ah-5.12kWh-IPW-51100.webp | https://itelsolar.com/wp-content/uploads/2025/01/itel-5120Wh-Lithium-Battery-Standing-IPL-25200X-25.6V-200Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-5120Wh-Lithium-Battery-Standing-IPL-25200X-25.6V-200Ah-3.jpg | https://itelsolar.com/product/itel-5120wh-lithium-battery-wall-mounted-24v-100ah-5-12kwh-ipl-25200x/ | Standing/floor type. 24V system battery.
Lithium Battery - Standing
6 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51100 | itel 48V 100Ah LiFePO4 Battery (5.12kWh) Standing | بطارية itel 48 فولت 100 أمبير ليثيوم (5.12 كيلوواط ساعي) عمودية | 48V (51.2V) ¦ 100Ah ¦ 5.12kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100-White-User_Manual.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100-White-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-5.12kWh-Lithium-Battery-%E2%80%93-Long-Backup-for-Homes-Clinics-Offices-48V-LiFePO4-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-5.12kWh-Lithium-Battery-%E2%80%93-Long-Backup-for-Homes-Clinics-Offices-48V-LiFePO4-1.jpg | https://itelsolar.com/wp-content/uploads/2024/08/itel-5120Wh-Lithium-Battery-Standing-IPL-51100-48V-100Ah-3.jpg | https://itelsolar.com/product/itel-5120wh-lithium-battery-stackable-48v-100ah-5-12kwh-ipl-51100/ | Standing type. White color. Compatible with IPL series.
7 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51100A | itel 48V 100Ah LiFePO4 Battery (5.12kWh) Standing - Type A | بطارية itel 48 فولت 100 أمبير ليثيوم (5.12 كيلوواط ساعي) عمودية - النوع A | 48V (51.2V) ¦ 100Ah ¦ 5.12kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type ¦ Type A | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100A-White-User_Manual-20250620.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100A-White-User_Manual-20250620.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-5120Wh-Lithium-Battery-IPL-51100A-48V-100Ah-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-5120Wh-Lithium-Battery-IPL-51100A-48V-100Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-5120Wh-Lithium-Battery-IPL-51100A-48V-100Ah-3.jpg | https://itelsolar.com/product/itel-5120wh-lithium-battery-48v-100ah-5-12kwh-ipl-51100a/ | Updated Type A version. Standing type.
8 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51200 | itel 48V 200Ah LiFePO4 Battery (10.24kWh) Standing | بطارية itel 48 فولت 200 أمبير ليثيوم (10.24 كيلوواط ساعي) عمودية | 48V (51.2V) ¦ 200Ah ¦ 10.24kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51200-User_Manual.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51200-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Standing-IPL-51200-48V-200Ah-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Standing-IPL-51200-48V-200Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Standing-IPL-51200-48V-200Ah-3.jpg | https://itelsolar.com/product/itel-10240wh-lithium-battery-standing-48v-200ah-10-24kwh-ipl-51200/ | Standing type. 10.24kWh capacity. 48V system.
9 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51200X | itel 48V 200Ah LiFePO4 Battery (10.24kWh) Standing - Type X | بطارية itel 48 فولت 200 أمبير ليثيوم (10.24 كيلوواط ساعي) عمودية - النوع X | 48V (51.2V) ¦ 200Ah ¦ 10.24kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type X | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51200-User_Manual.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51200-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-10.24kWh-Lithium-Battery-%E2%80%93-Long-Backup-for-Homes-Clinics-Offices-LiFePO4-48V-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-10.24kWh-Lithium-Battery-%E2%80%93-Long-Backup-for-Homes-Clinics-Offices-LiFePO4-48V-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10240Wh-Lithium-Battery-Standing-IPL-51200X-48V-200Ah-3.jpg | https://itelsolar.com/product/itel-10240wh-lithium-battery-standing-48v-200ah-10-24kwh-ipl-51200/ | Standing Type X. Updated version.
10 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51280 | itel 48V 280Ah LiFePO4 Battery (14.33kWh) Standing | بطارية itel 48 فولت 280 أمبير ليثيوم (14.33 كيلوواط ساعي) عمودية | 48V (51.2V) ¦ 280Ah ¦ 14.33kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51280-User_Manual.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51280-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-14.3kWh-Silent-Power-Battery-%E2%80%93-Long-Backup-for-Big-Homes-Offices-48V-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-14.3kWh-Silent-Power-Battery-%E2%80%93-Long-Backup-for-Big-Homes-Offices-48V-1.jpg | https://itelsolar.com/wp-content/uploads/2024/12/itel-14330Wh-Lithium-Battery-Standing-48V-280Ah-14-33kWh-3.jpg | https://itelsolar.com/product/itel-14330wh-lithium-battery-standing-48v-280ah-14-33kwh-ipl-51280-2/ | Standing type. 14.33kWh capacity. High-capacity 48V system.
11 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51314H | itel 48V 314Ah LiFePO4 Battery (16kWh) Standing | بطارية itel 48 فولت 314 أمبير ليثيوم (16 كيلوواط ساعي) عمودية | 48V (51.2V) ¦ 314Ah ¦ 16kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type | https://drive.google.com/file/d/1Oq5JdUiGu_UO-ZqcE4iZWD7aGoMvHwGm/view | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51280-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-10240Wh-Lithium-Battery-Standing-48V-200Ah-10.24kWh-IPL-51200.webp | https://itelsolar.com/wp-content/uploads/2025/01/itel-16000Wh-Lithium-Battery-IPL-51314H-48V-314Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-16000Wh-Lithium-Battery-IPL-51314H-48V-314Ah-3.jpg | https://itelsolar.com/product/itel-16000wh-lithium-battery-standing-48v-314ah-16kwh-ipl-51314h-indoor-ip21/ | Standing type. 16kWh capacity. Type H variant.
12 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51314Y | itel 48V 314Ah LiFePO4 Battery (16kWh) Standing - Type Y | بطارية itel 48 فولت 314 أمبير ليثيوم (16 كيلوواط ساعي) عمودية - النوع Y | 48V (51.2V) ¦ 314Ah ¦ 16kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type Y | https://drive.google.com/file/d/1Oq5JdUiGu_UO-ZqcE4iZWD7aGoMvHwGm/view | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51280-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-10240Wh-Lithium-Battery-Standing-48V-200Ah-10.24kWh-IPL-51200.webp | https://itelsolar.com/wp-content/uploads/2025/01/itel-16000Wh-Lithium-Battery-IPL-51314Y-48V-314Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-16000Wh-Lithium-Battery-IPL-51314Y-48V-314Ah-3.jpg | https://itelsolar.com/product/itel-16000wh-lithium-battery-standing-48v-314ah-16kwh-ipl-51314y/ | Standing type. 16kWh. Type Y variant. Most popular 16kWh model.
13 | Lithium Battery - Standing | بطارية ليثيوم - عمودية | IPL-51628H | itel 48V 628Ah LiFePO4 Battery (32kWh) Standing | بطارية itel 48 فولت 628 أمبير ليثيوم (32 كيلوواط ساعي) عمودية | 48V (51.2V) ¦ 628Ah ¦ 32kWh ¦ LiFePO4 ¦ >6000 Cycles ¦ Standing Type ¦ 10-Year Warranty | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51280-User_Manual.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51280-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-32000Wh-Lithium-Battery-IPL-51628H-48V-628Ah-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-32000Wh-Lithium-Battery-IPL-51628H-48V-628Ah-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-32000Wh-Lithium-Battery-IPL-51628H-48V-628Ah-3.jpg | https://itelsolar.com/product/itel-32000wh-lithium-battery-48v-628ah-32kwh-ipl-51628h/ | Highest capacity standing battery. 32kWh. 10-year warranty.
Lithium Battery - High Voltage
14 | Lithium Battery - High Voltage | بطارية ليثيوم - جهد عالي | IPX-51314SPT | itel High Voltage 16kWh LiFePO4 Battery with Smart BMS | بطارية itel جهد عالي 16 كيلوواط ساعي ليثيوم مع BMS ذكي | High Voltage ¦ 16kWh ¦ LiFePO4 ¦ Smart BMS ¦ >6000 Cycles@25°C ¦ Auto Wake-up ¦ Parallel New+Old ¦ 10-Year Warranty | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100-White-User_Manual.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPL-51100-White-User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2026/06/16kWh-Solar-Battery-IPX-51314SPT-C-and-I.webp | https://itelsolar.com/wp-content/uploads/2025/04/itel-16kWh-High-Voltage-Battery-IPX-51314SPT-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-16kWh-High-Voltage-Battery-IPX-51314SPT-3.jpg | https://itelsolar.com/product/16kwh-solar-battery-ipx-51314spt-c-and-i/ | High voltage battery for commercial/industrial systems. Compatible with IHY-50KH3S. 6-125 units can be connected.
Off-Grid Inverter
15 | Off-Grid Inverter | عواكس خارج الشبكة | IPV-1K512U | itel 1.5kW 12V Off-Grid Hybrid Inverter (IP12) | عواكس itel 1.5 كيلوواط 12 فولت خارج الشبكة (IP12) | 1500W ¦ 12V ¦ Pure Sine Wave ¦ MPPT ¦ IP12 ¦ Single Phase | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-1K12U_IPV-1K512U_IPV-3K24U_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-1K512U_IPV-3K24U_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-1.5kw-1500W-Inverter-Hybrid-12V-IP54-1Phase-IPV-1K512U.webp | https://itelsolar.com/wp-content/uploads/2024/08/itel-1.5kW-Off-Grid-Inverter-IPV-1K512U-12V-2.jpg | https://itelsolar.com/wp-content/uploads/2024/08/itel-1.5kW-Off-Grid-Inverter-IPV-1K512U-12V-3.jpg | https://itelsolar.com/product/itel-1-5kw-1500w-inverter-hybrid-12v-ip54-1phase-ipv-1k512u/ | Entry-level off-grid inverter. 12V system. Ideal for small homes.
Hybrid Inverter - IP31
16 | Hybrid Inverter - IP31 | عواكس هجينة - IP31 | IPV-3K624S | itel 3.6kW 24V Hybrid Inverter (IP31) | عواكس itel 3.6 كيلوواط 24 فولت هجين (IP31) | 3600W ¦ 24V ¦ MPPT 99.5% ¦ IP31 ¦ Single Phase ¦ Li/Lead-Acid ¦ 100A MPPT ¦ 10ms Switch | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP31_IPV-3K624S.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPV-3K624S_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-3.6kVA-Hybrid-Solar-Inverter-Powers-TVs-Fridges-1HP-ACs-24V-IP31-Rated-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-3.6kVA-Hybrid-Solar-Inverter-Powers-TVs-Fridges-1HP-ACs-24V-IP31-Rated-1.jpg | https://itelsolar.com/wp-content/uploads/2025/03/itel-3.6kw-Hybrid-Inverter-IPV-3K624S-24V-IP31-3.jpg | https://itelsolar.com/product/itel-3-dot-6-kw-inverter-hybrid-24v-ip31-1phase-ipv-3k624s/ | Indoor use. IP31 rated. Compact design.
Hybrid Inverter - IP54 (Single Phase)
17 | Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | IPV-3K24U | itel 3kW 24V Hybrid Inverter (IP54) | عواكس itel 3 كيلوواط 24 فولت هجين (IP54) | 3000W ¦ 24V ¦ MPPT ≥99.9% ¦ IP54 ¦ Single Phase ¦ 120A MPPT ¦ Dust & Splash Proof | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-1K12U_IPV-1K512U_IPV-3K24U_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-1K512U_IPV-3K24U_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-3kW-Hybrid-Solar-Inverter-%E2%80%93-24V-Pure-Sine-Wave-Powers-ACs-TVs-Fridge-1.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-3kW-Hybrid-Solar-Inverter-%E2%80%93-24V-Pure-Sine-Wave-Powers-ACs-TVs-Fridge-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-3kW-Hybrid-Solar-Inverter-%E2%80%93-24V-Pure-Sine-Wave-Powers-ACs-TVs-Fridge-3.jpg | https://itelsolar.com/product/itel-3kw-inverter-off-grid-3000w-24v-ip54-1phase-ipv-3k24upro-4000w-pv-input-free-delivery/ | IP54 dust/splash proof. Suitable for indoor/outdoor shaded installation.
18 | Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | IPV-3K24UPRO | itel 3kW 24V Hybrid Inverter Pro (IP54) | عواكس itel 3 كيلوواط 24 فولت هجين برو (IP54) | 3000W ¦ 24V ¦ MPPT ≥99.9% ¦ IP54 ¦ Single Phase ¦ Enhanced Features ¦ Generator Support | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-1K12U_IPV-1K512U_IPV-3K24U_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_Hybrid_Inverter_IPV-3K24URPO_User_Manual-20250528.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-3kW-Hybrid-Solar-Inverter-%E2%80%93-24V-Pure-Sine-Wave-Powers-ACs-TVs-Fridge-1.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-3kW-Hybrid-Solar-Inverter-%E2%80%93-24V-Pure-Sine-Wave-Powers-ACs-TVs-Fridge-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-3kW-Hybrid-Solar-Inverter-%E2%80%93-24V-Pure-Sine-Wave-Powers-ACs-TVs-Fridge-3.jpg | https://itelsolar.com/product/itel-3kw-inverter-off-grid-3000w-24v-ip54-1phase-ipv-3k24upro-4000w-pv-input-free-delivery/ | Pro version with enhanced features. Generator support.
19 | Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | IPV-4K24U | itel 4kW 24V Hybrid Inverter (IP54) | عواكس itel 4 كيلوواط 24 فولت هجين (IP54) | 4000W ¦ 24V ¦ MPPT ≥99.9% ¦ IP54 ¦ Single Phase ¦ 120A MPPT ¦ 4000W PV ¦ 8000VA Surge | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPV-4K24U.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_IP54_Hybrid_Inverter_User_Manual-6KW_4KW.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/07/itel-4kW-Hybrid-Solar-Inverter-%E2%80%93-Powers-ACs-Fridges-TVs-24V-IP54-Rated-1.jpg | https://itelsolar.com/wp-content/uploads/2025/07/itel-4kW-Hybrid-Solar-Inverter-%E2%80%93-Powers-ACs-Fridges-TVs-24V-IP54-Rated-2.jpg | https://itelsolar.com/wp-content/uploads/2025/07/itel-4kW-Hybrid-Solar-Inverter-%E2%80%93-Powers-ACs-Fridges-TVs-24V-IP54-Rated-3.jpg | https://itelsolar.com/product/itel-4kw-inverter-hybrid-24v-ip54-1phase-ipv-4k24u/ | Popular 4kW model. IP54 rated. Can run up to 3.5HP motors.
Hybrid Inverter - IP54 Pro (Single Phase)
20 | Hybrid Inverter - IP54 Pro (Single Phase) | عواكس هجينة - IP54 Pro (أحادي الطور) | IPV-4K24UPRO | itel 4kW 24V Hybrid Inverter Pro (IP54) with WiFi | عواكس itel 4 كيلوواط 24 فولت هجين برو (IP54) مع واي فاي | 4000W ¦ 24V ¦ MPPT ≥99.9% ¦ IP54 ¦ WiFi/RS485/RS232 ¦ Generator Support ¦ 8000VA Surge | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPV-4K24U_Pro_IPV-6K48U_Pro_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_Hybrid_Inverter_IPV-4K24UPRO_IPV-6K48UPRO__IPV-12K48U-User_Manual-20250423.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/07/itel-4kW-Hybrid-Solar-Inverter-%E2%80%93-Powers-ACs-Fridges-TVs-24V-IP54-Rated-1.jpg | https://itelsolar.com/wp-content/uploads/2025/07/itel-4kW-Hybrid-Solar-Inverter-%E2%80%93-Powers-ACs-Fridges-TVs-24V-IP54-Rated-2.jpg | https://itelsolar.com/wp-content/uploads/2025/07/itel-4kW-Hybrid-Solar-Inverter-%E2%80%93-Powers-ACs-Fridges-TVs-24V-IP54-Rated-3.jpg | https://itelsolar.com/product/itel-4kw-inverter-hybrid-24v-ip54-1phase-ipv-4k24u-2/ | Pro version with WiFi monitoring. Enhanced features.
Hybrid Inverter - IP54 (Single Phase)
21 | Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | IPV-6K48U | itel 6kW 48V Hybrid Inverter (IP54) | عواكس itel 6 كيلوواط 48 فولت هجين (IP54) | 6000W ¦ 48V ¦ MPPT ≥99.9% ¦ IP54 ¦ Single Phase ¦ 120A MPPT ¦ 6000W PV ¦ Parallel up to 12 | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPV-6K48U.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_IP54_Hybrid_Inverter_User_Manual-6KW_4KW.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/07/itel-6kW-Hybrid-Solar-Inverter-%E2%80%93-Dual-AC-Output-for-Homes-Clinics-48V-IP54-Rated-2.jpg | https://itelsolar.com/wp-content/uploads/2025/07/itel-6kW-Hybrid-Solar-Inverter-%E2%80%93-Dual-AC-Output-for-Homes-Clinics-48V-IP54-Rated-3.jpg | https://itelsolar.com/wp-content/uploads/2025/07/itel-6kW-Hybrid-Solar-Inverter-%E2%80%93-Dual-AC-Output-for-Homes-Clinics-48V-IP54-Rated-5.jpg | https://itelsolar.com/product/itel-6kw-inverter-hybrid-48v-ip54-1phase-ipv-6k48u/ | 6kW powerhouse. Parallel up to 12 units. Generator support with external ATS.
Hybrid Inverter - IP54 Pro (Single Phase)
22 | Hybrid Inverter - IP54 Pro (Single Phase) | عواكس هجينة - IP54 Pro (أحادي الطور) | IPV-6K48UPRO | itel 6kW 48V Hybrid Inverter Pro (IP54) with WiFi | عواكس itel 6 كيلوواط 48 فولت هجين برو (IP54) مع واي فاي | 6000W ¦ 48V ¦ MPPT ≥99.9% ¦ IP54 ¦ WiFi ¦ Generator Support ¦ Enhanced | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPV-4K24U_Pro_IPV-6K48U_Pro_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_Hybrid_Inverter_IPV-4K24UPRO_IPV-6K48UPRO__IPV-12K48U-User_Manual-20250423.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kw-Hybrid-Inverter-Pro-IPV-6K48UPRO-48V-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kw-Hybrid-Inverter-Pro-IPV-6K48UPRO-48V-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kw-Hybrid-Inverter-Pro-IPV-6K48UPRO-48V-3.jpg | https://itelsolar.com/product/itel-6kw-inverter-hybrid-48v-ip54-pro-ipv-6k48upro/ | Pro version. WiFi monitoring included.
Hybrid Inverter - IP54 (Single Phase)
23 | Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | IPV-8K48U | itel 8kW 48V Hybrid Inverter (IP54) | عواكس itel 8 كيلوواط 48 فولت هجين (IP54) | 8000W ¦ 48V ¦ MPPT ≥99.5% ¦ IP54 ¦ Single Phase ¦ 16000W PV Input ¦ 150-200% Overload | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-8K48U_IPV-12K48U_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_Hybrid_Inverter_IPV-4K24UPRO_IPV-6K48UPRO__IPV-12K48U-User_Manual-20250423.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Hybrid-Inverter-IPV-8K48U-48V-IP54-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Hybrid-Inverter-IPV-8K48U-48V-IP54-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Hybrid-Inverter-IPV-8K48U-48V-IP54-3.jpg | https://itelsolar.com/product/itel-8kw-inverter-hybrid-48v-ip54-ipv-8k48u/ | 8kW high-power single phase. 16kW PV input support.
24 | Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | IPV-12K48U | itel 12kW 48V Hybrid Inverter (IP54) | عواكس itel 12 كيلوواط 48 فولت هجين (IP54) | 12000W ¦ 48V ¦ MPPT ≥99.5% ¦ IP54 ¦ Single Phase ¦ 16000W PV Input ¦ 150-200% Overload | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP54_IPV-8K48U_IPV-12K48U_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/Itel_Hybrid_Inverter_IPV-4K24UPRO_IPV-6K48UPRO__IPV-12K48U-User_Manual-20250423.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-12kW-Hybrid-Solar-Inverter-%E2%80%93-Heavy-Duty-Backup-for-Estates-Clinics-Offices-48V-Dual-MPPT-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-12kW-Hybrid-Solar-Inverter-%E2%80%93-Heavy-Duty-Backup-for-Estates-Clinics-Offices-48V-Dual-MPPT-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-12kW-Hybrid-Inverter-IPV-12K48U-48V-IP54-3.jpg | https://itelsolar.com/product/itel-12kw-inverter-hybrid-48v-ip54-1phase-ipv-12k48u/ | Highest single-phase model. 12kW output. 16kW max PV.
Hybrid Inverter - IP66 (Single Phase)
25 | Hybrid Inverter - IP66 (Single Phase) | عواكس هجينة - IP66 (أحادي الطور) | IHY-6KL1A | itel 6kW Hybrid Inverter (IP66) Single Phase | عواكس itel 6 كيلوواط هجين (IP66) أحادي الطور | 6000W ¦ 48V ¦ IP66 ¦ Single Phase ¦ Waterproof ¦ 12kW PV Max ¦ 120A MPPT ¦ Selling First Mode | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-6KL1A_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IHY-6KL1A_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kW-Hybrid-Inverter-IHY-6KL1A-IP66-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kW-Hybrid-Inverter-IHY-6KL1A-IP66-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kW-Hybrid-Inverter-IHY-6KL1A-IP66-3.jpg | https://itelsolar.com/product/itel-6kw-hybrid-inverter-ip66-ihy-6kl1a/ | IP66 waterproof. Outdoor installation. Selling First & Anti-reflux modes.
26 | Hybrid Inverter - IP66 (Single Phase) | عواكس هجينة - IP66 (أحادي الطور) | IHY-8KL1A | itel 8kW Hybrid Inverter (IP66) Single Phase | عواكس itel 8 كيلوواط هجين (IP66) أحادي الطور | 8000W ¦ 48V ¦ IP66 ¦ Single Phase ¦ Waterproof ¦ Enhanced Power | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-6KL1A_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IHY-6KL1A_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Hybrid-Inverter-IHY-8KL1A-IP66-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Hybrid-Inverter-IHY-8KL1A-IP66-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Hybrid-Inverter-IHY-8KL1A-IP66-3.jpg | https://itelsolar.com/product/itel-8kw-hybrid-inverter-ip66-ihy-8kl1a/ | IP66 waterproof. 8kW single phase outdoor.
Hybrid Inverter - IP66 Three Phase
27 | Hybrid Inverter - IP66 Three Phase | عواكس هجينة - IP66 (ثلاثي الطور) | IHY-5KL3 | itel 5kW Hybrid Inverter (IP66) Three Phase | عواكس itel 5 كيلوواط هجين (IP66) ثلاثي الطور | 5000W ¦ 380V ¦ IP66 ¦ Three Phase ¦ MPPT ≥99.5% ¦ Touchscreen ¦ 190A Charge | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-8KL3_IHY-12KL3_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-_8KL3_IHY-12KL3_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-5kW-Three-Phase-Inverter-IHY-5KL3-IP66-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-5kW-Three-Phase-Inverter-IHY-5KL3-IP66-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-5kW-Three-Phase-Inverter-IHY-5KL3-IP66-3.jpg | https://itelsolar.com/product/itel-5kw-three-phase-hybrid-inverter-ip66-ihy-5kl3/ | Three phase. IP66 waterproof. Touchscreen display.
28 | Hybrid Inverter - IP66 Three Phase | عواكس هجينة - IP66 (ثلاثي الطور) | IHY-6KL3 | itel 6kW Hybrid Inverter (IP66) Three Phase | عواكس itel 6 كيلوواط هجين (IP66) ثلاثي الطور | 6000W ¦ 380V ¦ IP66 ¦ Three Phase ¦ MPPT ≥99.5% ¦ 190A Charge | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-8KL3_IHY-12KL3_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-_8KL3_IHY-12KL3_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kW-Three-Phase-Inverter-IHY-6KL3-IP66-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kW-Three-Phase-Inverter-IHY-6KL3-IP66-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-6kW-Three-Phase-Inverter-IHY-6KL3-IP66-3.jpg | https://itelsolar.com/product/itel-6kw-three-phase-hybrid-inverter-ip66-ihy-6kl3/ | Three phase. IP66 waterproof.
29 | Hybrid Inverter - IP66 Three Phase | عواكس هجينة - IP66 (ثلاثي الطور) | IHY-8KL3 | itel 8kW Hybrid Inverter (IP66) Three Phase | عواكس itel 8 كيلوواط هجين (IP66) ثلاثي الطور | 8000W ¦ 380V ¦ IP66 ¦ Three Phase ¦ MPPT ≥99.5% ¦ 190A Charge ¦ 100% Unbalanced Output | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-8KL3_IHY-12KL3_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-_8KL3_IHY-12KL3_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Three-Phase-Inverter-IHY-8KL3-IP66-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Three-Phase-Inverter-IHY-8KL3-IP66-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-8kW-Three-Phase-Inverter-IHY-8KL3-IP66-3.jpg | https://itelsolar.com/product/itel-8kw-three-phase-hybrid-inverter-ip66-ihy-8kl3/ | Three phase. IP66. 100% unbalanced output support.
30 | Hybrid Inverter - IP66 Three Phase | عواكس هجينة - IP66 (ثلاثي الطور) | IHY-10KL3 | itel 10kW Hybrid Inverter (IP66) Three Phase | عواكس itel 10 كيلوواط هجين (IP66) ثلاثي الطور | 10000W ¦ 380V ¦ IP66 ¦ Three Phase ¦ MPPT ≥99.5% ¦ 250A Charge | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-8KL3_IHY-12KL3_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-_8KL3_IHY-12KL3_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-10kW-Three-Phase-Inverter-IHY-10KL3-IP66-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10kW-Three-Phase-Inverter-IHY-10KL3-IP66-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-10kW-Three-Phase-Inverter-IHY-10KL3-IP66-3.jpg | https://itelsolar.com/product/itel-10kw-three-phase-hybrid-inverter-ip66-ihy-10kl3/ | Three phase. IP66. Commercial-grade.
31 | Hybrid Inverter - IP66 Three Phase | عواكس هجينة - IP66 (ثلاثي الطور) | IHY-12KL3 | itel 12kW Hybrid Inverter (IP66) Three Phase | عواكس itel 12 كيلوواط هجين (IP66) ثلاثي الطور | 12000W ¦ 380V ¦ IP66 ¦ Three Phase ¦ MPPT ≥99.5% ¦ 250A Charge ¦ 100% Unbalanced | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-8KL3_IHY-12KL3_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-_8KL3_IHY-12KL3_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-12kW-3-Phase-Hybrid-Inverter-%E2%80%93-Commercial-Solar-Backup-for-Clinics-Offices-Estates-48V-IP66-Rated-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-12kw-Inverter-Hybrid-48V-IP66-3Phase-IHY-12KL3.webp | https://itelsolar.com/wp-content/uploads/2025/01/itel-12kW-Three-Phase-Inverter-IHY-12KL3-IP66-3.jpg | https://itelsolar.com/product/itel-12kw-inverter-hybrid-48v-ip66-3phase-ihy-12kl3/ | Three phase. Largest residential 3-phase model. IP66.
Hybrid Inverter - Commercial/Industrial
32 | Hybrid Inverter - Commercial/Industrial | عواكس هجينة - تجارية/صناعية | IHY-50KH3S | itel 50kW (60kVA) Commercial Hybrid Inverter Three Phase | عواكس itel 50 كيلوواط (60 كيلو فولت أمبير) تجاري هجين ثلاثي الطور | 50kW/60kVA ¦ 380V ¦ IP66 ¦ Three Phase ¦ 100% Unbalanced Output ¦ 150% Max Backup@10s ¦ High Voltage Battery ¦ 160% DC Oversizing | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-8KL3_IHY-12KL3_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IHY-_8KL3_IHY-12KL3_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2026/06/50kW-3-Phase-Hybrid-Inverter-IHY-50KH3S.webp | https://itelsolar.com/wp-content/uploads/2025/04/itel-50kW-Commercial-Hybrid-Inverter-IHY-50KH3S-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-50kW-Commercial-Hybrid-Inverter-IHY-50KH3S-3.jpg | https://itelsolar.com/product/50kw-3-phase-hybrid-inverter-ihy-50kh3s/ | Industrial-grade. Compatible with IPX-51314SPT HV batteries. Up to 125 x 590W panels. 6 work modes.
On-Grid Inverter
33 | On-Grid Inverter | عواكس مرتبطة بالشبكة | IGT-12KTA | itel 12kW On-Grid PV Inverter | عواكس itel 12 كيلوواط مرتبط بالشبكة | 12000W ¦ IP66 ¦ MPPT 99.5%+ ¦ 2 MPPT Trackers ¦ Max Efficiency 98.7% ¦ 18A Max MPPT Current | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IGT-12KTA_IGT-17KTA_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IGT-12KTA_IGT-17KTA_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/02/itel-12kW-On-Grid-Inverter-IGT-12KTA-1.jpg | https://itelsolar.com/wp-content/uploads/2025/02/itel-12kW-On-Grid-Inverter-IGT-12KTA-2.jpg | https://itelsolar.com/wp-content/uploads/2025/02/itel-12kW-On-Grid-Inverter-IGT-12KTA-3.jpg | https://itelsolar.com/product/itel-12kw-on-grid-inverter-igt-12kta/ | Grid-tied. IP66. WiFi Logger support.
34 | On-Grid Inverter | عواكس مرتبطة بالشبكة | IGT-17KTA | itel 17kW On-Grid PV Inverter | عواكس itel 17 كيلوواط مرتبط بالشبكة | 17000W ¦ IP66 ¦ MPPT 99.5%+ ¦ 2 MPPT Trackers ¦ Max Efficiency 98.7% ¦ 18A Max MPPT ¦ Wide Voltage | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IGT-12KTA_IGT-17KTA_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IP66_IGT-12KTA_IGT-17KTA_User_Manual.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/02/itel-17kW-On-Grid-Inverter-IGT-17KTA-1.jpg | https://itelsolar.com/wp-content/uploads/2025/02/itel-17kW-On-Grid-Inverter-IGT-17KTA-2.jpg | https://itelsolar.com/wp-content/uploads/2025/02/itel-17kW-On-Grid-Inverter-IGT-17KTA-3.jpg | https://itelsolar.com/product/itel-17kw-on-grid-inverter-igt-17kta/ | Grid-tied. IP66. High power commercial.
Solar Panel - Mono
35 | Solar Panel - Mono | لوح شمسي - أحادي | ODA410-27V-MHP | itel 410W Mono Solar Panel | لوح شمسي itel 410 واط أحادي | 410W ¦ 108 Mono Cells (182×91mm) ¦ Vmp:31.46V ¦ Imp:13.04A ¦ Voc:37.45V ¦ Eff:20.97% ¦ 1722×1134×30mm ¦ 21.5kg | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/ISP-410W_Photovoltaic_modules_datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/ISP-410W_Photovoltaic_modules_datasheet.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-410W-Monocrystalline-Solar-Panel-%E2%80%93-Rooftop-Solar-for-Homes-Shops-Offices-High-Efficiency-IP68-Rated-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-410W-Monocrystalline-Solar-Panel-%E2%80%93-Rooftop-Solar-for-Homes-Shops-Offices-High-Efficiency-IP68-Rated-1.jpg | https://itelsolar.com/wp-content/uploads/2024/08/itel-410W-Solar-Panel-ODA410-27V-MHP-3.jpg | https://itelsolar.com/product/itel-410w-solar-panel-20-97-module-efficiency-with-108-n-mono-cells-182-by-91mm/ | Half-cut cell technology. PID resistance. IP68 junction box. 2400Pa wind / 5400Pa snow load.
Solar Panel - N-Type Mono
36 | Solar Panel - N-Type Mono | لوح شمسي - N-Type أحادي | ODA550-36V-MH | itel 550W N-Type Mono Solar Panel | لوح شمسي itel 550 واط N-Type أحادي | 550W ¦ 144 N-Type Mono Cells ¦ Vmp:41.50V ¦ Imp:13.26A ¦ Voc:50.21V ¦ Eff:21.29% ¦ 2278×1134×30mm ¦ 27.4kg | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPS-590_595W_Photovoltaic_modules_datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPS-590_595W_Photovoltaic_modules_datasheet.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/iTel-550W-Solar-Panel-21.29-module-efficiency-with-144-N-Type-Mono-cells-11.jpg | https://itelsolar.com/wp-content/uploads/2025/04/iTel-550W-Solar-Panel-21.29-module-efficiency-with-144-N-Type-Mono-cells-1-3.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-550W-Solar-Panel-ODA550-36V-MH-3.jpg | https://itelsolar.com/product/itel-550w-solar-panel/ | N-Type Mono. Low temperature coefficient -0.30%/°C. Reduced LiD/LeTiD. 2400Pa wind / 5400Pa snow.
Solar Panel - N-Type Bifacial
37 | Solar Panel - N-Type Bifacial | لوح شمسي - N-Type ثنائي الوجه | ISP-590W-G1 | itel 590W N-Type Bifacial Solar Panel | لوح شمسي itel 590 واط N-Type ثنائي الوجه | 590W ¦ N-Type Bifacial ¦ Vmp:41.50V ¦ Imp:13.26A ¦ Voc:50.21V ¦ Eff:21.29% ¦ 2278×1134×30mm ¦ 28kg | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPS-590_595W_Photovoltaic_modules_datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IPS-590_595W_Photovoltaic_modules_datasheet.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/iTel-550W-Solar-Panel-21.29-module-efficiency-with-144-N-Type-Mono-cells-11.jpg | https://itelsolar.com/wp-content/uploads/2025/04/iTel-550W-Solar-Panel-21.29-module-efficiency-with-144-N-Type-Mono-cells-1-3.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-590W-Bifacial-Solar-Panel-ISP-590W-G1-3.jpg | https://itelsolar.com/product/itel-590w-solar-panel/ | Bifacial - dual-sided generation. N-Type cells. Extended dawn/dusk production.
38 | Solar Panel - N-Type Bifacial | لوح شمسي - N-Type ثنائي الوجه | ISP-620W-G1 | itel 620W N-Type Bifacial Monocrystalline Solar Panel | لوح شمسي itel 620 واط N-Type ثنائي الوجه أحادي البلورة | 620W ¦ 132 N-TOPCon Cells ¦ Vmp:41.80V ¦ Imp:14.84A ¦ Voc:49.80V ¦ Eff:22.95% ¦ 2382×1134×30mm ¦ 33.5kg | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/ISP-610_615W_Photovoltaic_modules_datasheet__1_.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/ISP-610_615W_Photovoltaic_modules_datasheet__1_.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2026/06/iTel-62W-Solar-Panel-Monocrystalline-N-Type-Solar.webp | https://itelsolar.com/wp-content/uploads/2025/06/itel-620W-N-Type-Bifacial-Panel-ISP-620W-G1-2.jpg | https://itelsolar.com/wp-content/uploads/2025/06/itel-620W-N-Type-Bifacial-Panel-ISP-620W-G1-3.jpg | https://itelsolar.com/product/620w-n-type-bifacial-monocrystalline-solar-panel/ | Highest wattage panel. N-TOPCon technology. Double glass (2.0mm front AR + 2.0mm back glazed).
All-in-One Solar Generator
39 | All-in-One Solar Generator | مولد شمسي متكامل | IESS-05K10N | itel 500W Solar Generator 1000Wh Power Tank | مولد itel الشمسي 500 واط 1000 واط ساعي - باور تانك | 500W Inverter ¦ 1000Wh LiFePO4 ¦ MPPT 400W PV ¦ 2hr Full Charge ¦ 6000+ Cycles ¦ <20ms UPS ¦ Pure Sine Wave | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/All-in-One_IESS-3K680N_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IESS-06K13D.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-Energy-500W-Inverter-1kWh-LifePo4-Battery-All-in-One-Solar-Power-System-1.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-Energy-500W-Inverter-1kWh-LifePo4-Battery-All-in-One-Solar-Power-System-3.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-Energy-500W-Inverter-1kWh-LifePo4-Battery-All-in-One-Solar-Power-System-2.jpg | https://itelsolar.com/product/itel-500w-solar-generator-1000wh-lithium-battery-iess-05k10p/ | 3-in-1: Inverter + MPPT + Battery. Plug-and-play. LED SOC display.
40 | All-in-One Solar Generator | مولد شمسي متكامل | IESS-06K13D | itel 600W ESS Bi-Direction All-in-One (1280Wh) | عواكس itel 600 واط ESS متكامل ثنائي الاتجاه (1280 واط ساعي) | 600W Bi-Dir Inverter ¦ 1280Wh LiFePO4 ¦ 400W PV MPPT ¦ A-Class LiFePO4 ¦ >6000 Cycles ¦ PV+Grid Charge | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IESS-06K13D.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IESS-06K13D.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/01/itel-600W-ESS-All-In-One-IESS-06K13D-1.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-600W-ESS-All-In-One-IESS-06K13D-2.jpg | https://itelsolar.com/wp-content/uploads/2025/01/itel-600W-ESS-All-In-One-IESS-06K13D-3.jpg | https://itelsolar.com/product/itel-600w-ess-all-in-one-1280wh-iess-06k13d/ | Smart All-in-One. Bi-directional. Supports PV and grid charge.
41 | All-in-One Solar Generator | مولد شمسي متكامل | IESS-3K680N | itel 3.6kW Solar Generator 8000Wh (Heavy-Duty) | مولد itel الشمسي 3.6 كيلوواط 8000 واط ساعي (ثقيل) | 3600W Inverter ¦ 8038Wh LiFePO4 ¦ >5000W PV ¦ <10ms UPS ¦ 6000+ Cycles ¦ Feed-to-Grid ¦ 907×613×311mm ¦ ~150kg | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/All-in-One_IESS-3K680N_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/All-in-One_IESS-3K680N_Datasheet.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2025/04/itel-8000Wh-Solar-Generator-All-in-One-with-3600W-Inverter-8000Wh-Lithium-Battery-IESS-3K680N.webp | https://itelsolar.com/wp-content/uploads/2025/04/itel-8000Wh-Solar-Generator-IESS-3K680N-2.jpg | https://itelsolar.com/wp-content/uploads/2025/04/itel-8000Wh-Solar-Generator-IESS-3K680N-3.jpg | https://itelsolar.com/product/itel-8000w-solar-generator-all-in-one-with-3600w-inverter-8000wh-lithium-battery-iess-3k680n/ | Heavy-duty. Silent generator replacement. Feed-to-grid support. IEC62619/IEC62368/UN38.3 certified.
Portable Power Station
42 | Portable Power Station | محطة طاقة محمولة | IESS-320T | itel Power Go 320Wh Portable Power Station | محطة itel باور جو المحمولة 320 واط ساعي | 320Wh (100,000mAh) ¦ LiFePO4 ¦ 130W Max Output ¦ USB-C 65W ¦ Solar 100W Input ¦ LED Light ¦ 3.5kg ¦ 190×65×190mm | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/All-in-One_IESS-3K680N_Datasheet.pdf | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/IESS-06K13D.pdf |  |  |  | https://itelsolar.com/wp-content/uploads/2026/01/itel-130W-Portable-Power-Station-%E2%80%93-320Wh-Smart-Backup-Power-Solution-IESS-320T.webp | https://itelsolar.com/wp-content/uploads/2026/02/itel-130W-Portable-Power-Station-%E2%80%93-320Wh-Smart-Backup-Power-Go-Solution-IESS-320T.jpg | https://itelsolar.com/wp-content/uploads/2025/06/itel-Power-Go-IESS-320T-320Wh-Portable-3.jpg | https://itelsolar.com/product/itel-130w-portable-power-station-320wh-smart-backup-power-solution-iess-320t/ | Super power bank. USB-C 65W laptop charging. 4× USB-A. DC 12V. LED light.

## Summary - ملخص
Category (EN) | Category (AR) | Count | Models
Lithium Battery - 12V | بطارية ليثيوم - 12 فولت | 1 | IPB-12100
Lithium Battery - Wall Mounted | بطارية ليثيوم - مثبتة على الحائط | 3 | IPW-25100, IPW-51100, IPW-51200X
Lithium Battery - Standing/Floor | بطارية ليثيوم - عمودية/أرضية | 1 | IPL-25200X
Lithium Battery - Standing | بطارية ليثيوم - عمودية | 8 | IPL-51100, IPL-51100A, IPL-51200, IPL-51200X, IPL-51280, IPL-51314H, IPL-51314Y, IPL-51628H
Lithium Battery - High Voltage | بطارية ليثيوم - جهد عالي | 1 | IPX-51314SPT
Off-Grid Inverter | عواكس خارج الشبكة | 1 | IPV-1K512U
Hybrid Inverter - IP31 | عواكس هجينة - IP31 | 1 | IPV-3K624S
Hybrid Inverter - IP54 (Single Phase) | عواكس هجينة - IP54 (أحادي الطور) | 6 | IPV-3K24U, IPV-3K24UPRO, IPV-4K24U, IPV-6K48U, IPV-8K48U, IPV-12K48U
Hybrid Inverter - IP54 Pro (Single Phase) | عواكس هجينة - IP54 Pro (أحادي الطور) | 2 | IPV-4K24UPRO, IPV-6K48UPRO
Hybrid Inverter - IP66 (Single Phase) | عواكس هجينة - IP66 (أحادي الطور) | 2 | IHY-6KL1A, IHY-8KL1A
Hybrid Inverter - IP66 Three Phase | عواكس هجينة - IP66 (ثلاثي الطور) | 5 | IHY-5KL3, IHY-6KL3, IHY-8KL3, IHY-10KL3, IHY-12KL3
Hybrid Inverter - Commercial/Industrial | عواكس هجينة - تجارية/صناعية | 1 | IHY-50KH3S
On-Grid Inverter | عواكس مرتبطة بالشبكة | 2 | IGT-12KTA, IGT-17KTA
Solar Panel - Mono | لوح شمسي - أحادي | 1 | ODA410-27V-MHP
Solar Panel - N-Type Mono | لوح شمسي - N-Type أحادي | 1 | ODA550-36V-MH
Solar Panel - N-Type Bifacial | لوح شمسي - N-Type ثنائي الوجه | 2 | ISP-590W-G1, ISP-620W-G1
All-in-One Solar Generator | مولد شمسي متكامل | 3 | IESS-05K10N, IESS-06K13D, IESS-3K680N
Portable Power Station | محطة طاقة محمولة | 1 | IESS-320T
TOTAL / الإجمالي |  | 42

## Quick Links - روابط
Resource | URL
itel Energy Official Site | https://www.itel-life.com
itel Solar Store (Nigeria) | https://itelsolar.com
itel Energy App (Monitoring) | https://ess.itel-life.com
itel Solar - All Inverters | https://itelsolar.com/product-category/itel-inverters/
itel Solar - Hybrid Inverters | https://itelsolar.com/product-category/itel-inverters/hybrid-inverter/
itel Solar - Batteries | https://itelsolar.com/product-category/solar-battery/
itel Solar - Lithium Batteries | https://itelsolar.com/product-category/solar-battery/lithium-battery/
itel Solar - Solar Panels | https://itelsolar.com/product-category/solar-panels/
itel Solar - Solar Generators | https://itelsolar.com/product-category/complete-solar-systems/
itel Solar - Complete Solar Systems | https://itelsolar.com/product-category/complete-solar-systems/
itel Solar - Shop All Products | https://itelsolar.com/shop/
Manuals Base Path | https://www.itel-life.com/fileadmin/assets/img/ESS/User_Manual/